## Sheet1
Item No | Description of Items | Unit | Unit Rate inChattogram & Sylhet Zone (Tk) | Remarks
1.1 | POINT WIRING CHANNEL POINT WIRING (BYM)(WITHOUT SWITCH)
Surfacc channel wiring for the following point looping at the switch board with earth terminal with 1C-2x1.5sqmnrPVCinsulatedandsheathedstrandedcable(BYM) and lC- lx I .5 sqmm PVC insulated ECC(BYA) (Creen / Yellorv bi-colour) including circuit rviring(From SDB to Switch Board) with lC-2x25 sqmrn PVC insulateJ and sheathed stranded cable (BYM) & lC-2x2 5 sqn'rm PVC insulated ECC(BYA) Green i Yellow bi-cclour through tninimunr I mm thick PVC channel complcte rvith l8 SwG CP shecl / PVC switch board (preferably concealed) $ith 3mmthickebonitesheetcover.circularbox.withoutSwitch.fixingn,]aterials.other accessories elc. as required and nrending the damages good Ail electrical contac:s shall be of brass r'copper connectcd through connector ot soldering (no I$isti s shall he allorvetl) and cables shall b(] manutactured an<i tested according to IEC / lls i VDE standard along with relevant BDS standard as per detailed specification nentionecinAnnexure-l."I.heworkshal!becarriedoutasperdirection&applor,al ofthe Ltrgineer In Charge.
1.1.1 | Cables manufactured t)y Govt. of Bangladesh owned / shar€d company Ltd' (Easterr cables) approvetl bY the Engineer ln Charge'
1.1.1.1 | l-ight / exhaust or wall bracket lan pointl-ight / exhaust or wall bracket lan point | point | 1197
1.1.1.2 | Fan point | point | 1197
1.1.1.3 | Call bell point with gang bell Push | point | 1231
1.1.2 | Cable mrnufacturtr(s) musl havc Ialid tl-pe test cerlificatc (rrithin last seven years) from internalionalt] accrcdited laborator] (like (I'Rl' KIMA ctc) acccpted / aPprovtd by the Enginecr I n Ch'! Rgc
1.1.2.1 | l-ight / exhaust or wall bracket lan pointl-ight / exhaust or wall bracket lan point |  | 1092
1.1.2.2 | Fan point |  | 1092
1.1.2.3 | Call bell point with gang bell Push |  | 1122
1.2 | SURFACE CONDUIT POINT WIRING (BYM) (WITHOUT SWITCH)
1.3 | SURFACE CONDUIT POINT WIRING (BYA) (WITHOUT SWITCH)
1.4 | SURFACE CONDUIT POINT WIRING (FR) (WITHOUT SWITCH)
1.5 | SURFACE CONDUIT POINT WIRING (ZERO HALOGEN)(WITHOUT SWITCH)
1.6 | CONCEALED CONDUIT POINT WIRING (BYM) (WITHOUT SWITCH)
Concealed conduit wiring for following point looping at the switch board with earth terminal with IC-2x I .5 sqmm pVC insulated and shealhed stranded cable (ByM) &lC-2x1.5 sqmm PVC insulated ECC (ByA) (Creen / yellow bi_colour) including circuit wiring with (From SDB to Switch Board) IC-2x2.5 sqmm pVC insulated and sheathed stranded cable (BYM) & IC-2x2.5 sqmm pVC insulated ECC (ByA) Creen / Yellow bi-colour through pVC conduit (one conduit from switch board to common point on ceiling is considered to draw 3 pair of cable ) of reputed manufacturer of minimum 25 mm dia & I.7 mm wall rhickness complete with l8 SWG Cp sheet / pVC switch board & pull box with 3mm thick ebonire sheet cover, withoul switch, fixing materials etc.(without switch) as required including mending the damages good. All electrical contacts shall be of brass .r copper connected through connector or soldering (no twisting shall be allowed) and cables shall be manufactured and tested according to IEC / BS / VDE standards along with relevant BDS standard as per detailed specification mentioned in Annexure- l . The work shall be canied out as per direction & approval ofthe Engineer In Charge.
1.6.1 | Cables manufactured by Govt. of Bangladesh owned / shared compaoy ltd. (Eastern cables) approved by the Engincer In Charge
1.6.1.1 | Light / exhaust or ll bracket fan pornt | point | 1367
1.6.1.2 | Fan point | point | 1367
1.6.1.3 | Call bell point \.vith gang bell push | point | 1438
1.6.2 | Cable manufacturer(s) must have valid type test certificate (within last seven years) from internationally accredited laboratory (like CPRI, KEMA etc) accepted / approved by the Engineer ln Charge
1.6.2.1 | Light / exhaust or ll bracket fan pornt | point | 1255
1.6.2.2 | Fan point | point | 1255
1.6.2.3 | Call bell point \.vith gang bell push | point | 1327
1.7 | CONCEALED CONDUIT POINT WIRING (BYA) (WITHOUT SWITCH)
Concealed conduit wiring for following point looping at the switch board with earth terminal with lC-2x1.5 sqmm PVC insualed cable (BYA) & lC-2x1.5 sqmm PVC insulated ECC(BYA) Green / Yellow bi-colour including circuit wiring (From SDB to Switchboard) with lC-2x2.5 sqmm PVC insulated cable (BYA) & lC-2x2.5 sqmm PVC insulated ECC (BYA) (Creen / Yellow bi-colour) through PvC conduil (one conduit from switch board to common point on ceiling is considered to draw 3 pair ofcable) ofreputed manufacturerlof minimum 25 mm dia & 1.7 mm wall thickness complete with l8 SWG GP sheet / PVC switch board pull box with 3mm thick ebonite sheet cover. fixing materials etc.(withoul switch) as required including mending the damages good. All electrical contacts shall be of brass / copper connected through connector or soldering (no twisting shall be allowed) and cables shall be manufactured and tested according to IEC / BS / VDE standard along with relevant BDS standard as per detailed specification mentioned in Annexure- l. The work shall be carried out as per direction & approval ofthe Engineer ln Charge
1.7.1 | Cables manufactured by Govt. of Bangladesh owned / shared company Ltd. (Eastern cables) approved by the Engineer ln Charge
1.7.1.1 | Light / exhaust or ll bracket fan pornt | point | 1241
1.7.1.2 | Fan point | point | 1241
1.7.1.3 | Call bell point \.vith gang bell push | point | 1312
1.7.2 | Cable manufacturer(s) must have valid type test certificate (within last seven years) from internationally accredited laboratory (like CPRI, KEMA etc) accepted / approved by the Engineer ln Charg
1.7.2.1 | Light / exhaust or ll bracket fan pornt | point | 1155
1.7.2.2 | Fan point | point | 1155
1.7.2.3 | Call bell point \.vith gang bell push | point | 1227
1.8 | WIRING FOR POINT,CIRCUIT,POWER,SUB-MAIN,FEEDERS ETC. CHANNEL WIRING (BYM)
Surface channel wiring with the following PVC insulated and sheathed stranded cable (BYM) & Creen / Yellow bi-colour PVC insulaled ECC wire (BYA), through nrinimum I mnr thick PVC channel complete with lixing materials, other accessories elc. as required including mending the damages good. AII electrical contacts shall be of brass / copper connected through connector or soldering (no twisting shall be allowed) and cables shall bc manufactured and tested according to IEC / BS / VDE standards along with relevant BDS standard as per detailed specification mentioned in Annexure- I . The work shall be carried out as per direction & approval ofthe Engineer In Charge.
1.8.1 | Cables manufactured by Covt. of Bangladesh owned / shared company ltd. (Eastern cables) approvcd by th€ Engineer ln Charge
1.8.1.1 | 1 C-2x1.5 sqmm (BYM) cable with 1.5 sqmm (BYA) ECC wire | meter | 151
1.8.1.2 | 1 C-2x2.5 sqmm (BYM) cable with 2.5 sqmm (BYA) ECC wire | meter | 207
1.8.1.3 | 1 C-2x4 sqmm (BYM) cable with 4 sqmm (BYA) ECC wire | meter | 300
1.8.1.4 | 1 C-2x6 sqmm (BYM) cable with 6 sqmm (BYA) ECC wire | meter | 419
1.8.1.5 | 1 C-2x10 sqmm (BYM) cable with 10 sqmm (BYA) ECC wire | meter | 646
1.8.2 | Cable manufacturer(s) must have valid type tesi certificate (within last seven vears) from internationally accredited laboratory (like CPRI, KEMA etc) acccpted / approved by the Engineer ln Charge.
1.8.2.1 | 1 C-2x1.5 sqmm (BYM) cable with 1.5 sqmm (BYA) ECC wire | meter | 135
1.8.2.2 | 1 C-2x2.5 sqmm (BYM) cable with 2.5 sqmm (BYA) ECC wire | meter | 188
1.8.2.3 | 1 C-2x4 sqmm (BYM) cable with 4 sqmm (BYA) ECC wire | meter | 267
1.8.2.4 | 1 C-2x6 sqmm (BYM) cable with 6 sqmm (BYA) ECC wire | meter | 371
1.8.2.5 | 1 C-2x10 sqmm (BYM) cable with 10 sqmm (BYA) ECC wire | meter | 578
1.9 | CHANNEL WIRING (BYA)
1.1 | SURFACE WIRING (BYM) (THROUGH PVC CONDUIT)
1.11 | SURFACE WIRING (BYA) (THROUGH PVC CONDUIT)
1.12 | SURFACE WIRING (FR) (THROUGH PVC CONDUIT)
1.13 | SURFACE WIRING (ZERO HALOGEN)(THROUGH PVC CONDUIT)
1.14 | SURFACE WIRING (NYY)(THROUGH PVC CONDUIT)
1.15 | CONCEALED WIRING (BYM)
1.16 | CONCEALED WIRING (BYA)
Concealed conduit wiring with the following PVC insulated stranded cable (BYA) & PVC insulated Green / Yellow bi-colour ECC wire (BYA) through PVC conduit of reputed manufacturer complete with l8 SwC (;P sheet pull box with 3mm thick ebonite sheet cover, fixing materials. other acccssories etc as required including mending the damages good. All electrical contacts shall be of brass / copper connected through connector or soldering (no twisting shall be allowed) and cables shall be manufactured and tested according to IEC / BS / VDE standards along with relevant BDS standard as per detailed specification mentioned in Annexure- I . Ihe work shall be carried out as per direction & approval ofthe Engineer In Charge
1.16.1 | Cablcs manufactured by Govt. of Bangladesh owned / shared company ltd' (Eastern cabl€s) approved by the Engineer In Charge.
1.16.1.1 | lC-2x1.5sqmm (BYA) cable with 1.5sqmm (BYA) ECC wire through PVC pipe of minimum inner dia l6mmhavingwall thickness of 1.5 mm | meter | 204
1.16.1.2 | lC-2x2.5sqmm (BYA) cable with 2.5sqmm (BYA) ECC wire through PVC pipe of minimum inner dia l6mmhavingwall thickness of 1.5 mm | meter | 278
1.16.1.3 | lC-2x4sqmm (BYA) cable with 4sqmm (BYA) ECC wire through PVC pipe of minimum inner dia l6mmhavingwall thickness of 1.5 mm | meter | 386
1.16.1.4 | lC-2x6sqmm (BYA) cable with 6sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 20mmhavingwall thickness of 1.5 mm | meter | 526
1.16.1.5 | lC-2x10sqmm (BYA) cable with 10sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 20mmhavingwall thickness of 1.5 mm | meter | 750
1.16.1.6 | lC-2x16sqmm (BYA) cable with 16sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 25mmhavingwall thickness of 1.7 mm | meter | 1113
1.16.2 | Cable manufacturer(s) must have valid type tcst certificate (within last seven years) from internalionally accreditcd laboratory (like CPRI, KEMA etc) accepted / approved by the Enginecr ln Chargr
1.16.2.1 | lC-2x1.5sqmm (BYA) cable with 1.5sqmm (BYA) ECC wire through PVC pipe of minimum inner dia l6mmhavingwall thickness of 1.5 mm | meter | 193
1.16.2.2 | lC-2x2.5sqmm (BYA) cable with 2.5sqmm (BYA) ECC wire through PVC pipe of minimum inner dia l6mmhavingwall thickness of 1.5 mm | meter | 243
1.16.2.3 | lC-2x4sqmm (BYA) cable with 4sqmm (BYA) ECC wire through PVC pipe of minimum inner dia l6mmhavingwall thickness of 1.5 mm | meter | 351
1.16.2.4 | lC-2x6sqmm (BYA) cable with 6sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 20mmhavingwall thickness of 1.5 mm | meter | 471
1.16.2.5 | lC-2x10sqmm (BYA) cable with 10sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 20mmhavingwall thickness of 1.5 mm | meter | 681
1.16.1.6 | lC-2x16sqmm (BYA) cable with 16sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 25mmhavingwall thickness of 1.7 mm | meter | 1008
1.17 | CONCEALED WIRING (NYY) (THROUGH PVC CONDUIT)
1.18 | UNDERGROUND WIRING (NYY) (THROUGH PVC PIPE)
1.19 | UNDERGROUND WIRING (NYY) (THROUGH GI PIPE)
1.2 | HT CABLE (XLPE)
1.21 | TELECOMMUNICATION CABLE
1.22 | CO- AXIAL CABLE
1.23 | CABLE/SOCKET/FERULES
1.24 | CABLE TRENCH
1.25 | PVC PIPE
1.26 | LOOP CABLE
1.27 | ROAD CARPETING
1.28 | INSULATING TAPE